# DENTCARE AI

# Automated Dental Pathologies Detection

DentCare AI is a comprehensive diagnostic system designed to assist dentists by automating the detection of dental issues like Cavities, Fillings, Implants, and Impacted Teeth. The system processes both Clinical Images and X-ray (OPG) Images using state-of-the-art Deep Learning models.

## Methodology

The project follows a dual-stream pipeline to handle different data types:

- Clinical Stream: Focuses on visible pathologies using Mask Annotation and Normalization.

- X-ray Stream: Processes OPG images with advanced feature extraction and class balancing.

## Performance & Results

### 1. Clinical Dataset Results

We experimented with multiple YOLOv8 variants. YOLOv8l-seg (Large) achieved the best performance for instance segmentation.

### 2. X-ray (OPG) Dataset Results

For X-ray analysis, YOLOv8n-OBB (Oriented Bounding Boxes) outperformed other architectures, including RT-DETR and standard CNNs.

## Key Features

- Dual-Model Support: Specialized models for both clinical photos and radiographs.

- High Accuracy: Up to 95.2% mAP on X-ray datasets.

- Real-time Assistance: Designed for rapid inference to support clinical decision-making.

- Full-Stack Integration: Backend developed in [Flask/Django] with a responsive frontend.

## Repository Structure

- /backend: API and Inference logic.

- /frontend: User Dashboard code.

- /models: Trained .pt weights for YOLOv8 and RT-DETR.

- /docs: Methodology diagrams, result tables, and performance graphs.

Developed as a Final Year Project at UET Mardan.